## Worksheet
Machine #1 |  | Irradiation Processing Record Form
Batch number: ORDER-1
Customer Name | - (Company 1) |  |  | Product Name |  | Product 1
Processing task order number | ORDER-1 |  |  | Irradiation purpose |  | Sterilization [ √ ] Modified [ ]
Packaging specifications | box
| Dimension | 10x20x30 |  | Weight (kg) | - |  | Product Quantity | 100
Subcontracting | Yes [ ] No [ √ ] |  | Specifications after subcontracting |  |  |  | Quantity after subcontracting
Process dosage kGy | 1 - 5 kGy |  | Loading mode | Height (cm) | 30 |  | Product Quantity |  | Single [ √ ] Pair [ ]
|  |  | single_side | Width (cm) | 20
|  |  |  | Long (cm) | 10
Irradiation process basis | other: -
Equipment parameters
Equipment power (KW) | 20 |  |  | Pulse frequency HZ |  |  | -
Scanning gear | - |  |  | Beam Velocity mm/s |  |  | 10
Irradiation start time | 02/01/2025 08:00 |  |  | Irradiation finish time |  |  | 02/01/2025 09:00
Irradiation processing quantity
Dosimeter data | Dosimeter position |  | Remove the product surface after two pass.
| Equipment Number |  | Test Machine
| Absorbance |  | 1 |  | - |  |  | -
| Dose (kGy) |  | 2 |  | - |  |  | -
Analyze | Conforms to process standard specifications.
Process engineer: | Date: 2026/10/17 |  |  | Organizer: |  | Date of Compilation:
Operator's signature: | [6 empty] | Date:
Signature of person in charge: | [6 empty] | Date:
Effective Date: 2026/01/01 Version/Status: A/00